## Notes
To correct 14C dates that have not been previously normalized for d13C, enter the uncorrected date,
the error (1 sigma +/-), d13C and uncertainty under the yellow headings on one of the following pages.
Note that if the 14C measurement was done as a 14C/12C ratio (all radiometric
and some AMS measurements), use the sheet Equation 1) 14C12Cmeasurements.
If it was done as a 14C/13C ratio, use the sheet Equation 2) 14C13C measurements.
If you don't know, contact the lab where the measurement was made.
Equation numbers refer to Reimer et al, 2004.
References:
Stuiver and Polach, 1977, Radiocarbon 19:355-363.
Donahue, Linick and Jull. 1990, Radiocarbon 32:135-42.
Brown, TA, 1994 (PhD dissertation). Seattle: University of Washington.
Reimer, Brown and Reimer, 2004, Radiocarbon 46: in press.

## 14C12C measurements
d13C corrections for radiocarbon ages measured as 14C/12C ratios (all radiometric and some AMS)
SampleID | Uncorrected date | error | d13C (estimated or reported) | uncertainty | F14C* | 14C BP | error
example1 | 7810 | 60 | -27 | 3 | 0.37979 | 7777.0103 | 76.9613
* F14C = ASN/AON in notation of Stuiver and Polach 1977
Note on E3: pjreimer: If d13C is measured then this is close to 0 or a few tenths of a per mille (eg. 0.2)

## 14C13C measurements
d13C corrections for radiocarbon ages measured as 14C/13C ratios (some AMS)
SampleID | Uncorrected date | error | d13C (estimated or reported) | uncertainty | F14C* | 14C BP | error
example1 | 7810 | 60 | -27 | 3 | 0.36954 | 7996.8831 | 64.6588
* F14C = RSN/RON in notation of Donahue et al., 1990: Brown 1994
Note on E3: pjreimer: If measured this will be close to 0 or a few tenths of a permil (eg. 0.2)